Electrical and Electronic Formulas version 3

Copyright (C) 1990 - 1992 Miller

Introduction:

This program contains a collection of basic electrical and electronic

formulas, which can be found in any electrical engineering handbook.

The software was developed, in an effort, to alleviate the necessity

of looking up individual formulas each time they are needed. This

software includes the most commonly used electrical and electronic

formulas.

The software was complied to include the use of a math coprocessor,

if one is present. The coprocessor will be emulated if one is not

found in your system.

Differences:

This release contains all the features of version 1 and 2, plus a

a choice  of calculators, either algebraic or RPN (Reverse Polish

Notation). A color code chart was added to the electronics section, and

junction box sizing, a motor full load current chart, and a wire

ampacity chart was added to the electrical section. Also the command

line options were removed, options are now set in the configure area

and stored in a data file. Some additional minor maintenance changes

were also put into effect in this version.

File Index:

EEF    .EXE : 81760 Bytes, Electrical and Electronic Formula program

EEF    .DOC : 18873 Bytes, file containing general program information

EEFELEC.DBF : 21280 Bytes, file containing the world wide voltage chart

EEFHELP.DBF : 12880 Bytes, file containing general help information

System Requirements:

The software minimum requirements are as follows...

Any XT compatible computer

DOS version 3.0 or later

256K memory

A CGA color monitor

A floppy or hard disk drive

Installation:

The program, including support files, is compact enough that it will

run satisfactorily on a floppy disk. If a hard disk is available it

should be used, this will allow faster access to the data files as

they are needed. Type each of the following lines into the computer,

at the DOS prompt, to install on a hard disk system.

MD FORMULA                  <ENTER>    Make a directory

COPY A:EEF*.* C:\FORMULA /V <ENTER>    Copy files to new directory

CD\FORMULA                  <ENTER>    Change to new directory

EEF                         <ENTER>    Execute the program

A batch file can be created to allow easier loading of the program.

This file should be located in the root directory of the hard drive.

Type each of the following lines into the computer, at the DOS

prompt, to create a batch file.

COPY CON C:\EEF.BAT <ENTER>

CD\FORMULA          <ENTER>

EEF.EXE             <ENTER>

^Z                  <ENTER>

To execute the program, change to the root or formula directory, and

type EEF, followed by the <ENTER> key. If the DOS path is set to

include the root and formula directories, changing to a particular

directory will become unnecessary. Refer to your DOS manual for

instructions on using the path command.

Command Line Options:

Command line options were removed from this version. See the configure

section on setting up the program options.

General Information:

Select the proper subject from the main menu. Once the new menu is

displayed you will have to select an appropriate topic. The program

will then display this screen. The first few lines, starting at the

top of the monitor will give a brief description of the area you have

accessed. If a prompt will require more than a one character

response, then a window will be displayed. The window has a wrap

feature, which works as follows; as the window becomes filled,

characters on the left will be dropped, as new characters are added

on the right side of the window. The <BACKSPACE> key can be used to

eliminate characters, from the right side of the window, one at a

time. When you are sure that you have entered the data properly,

press the <ENTER> key, this will allow the program to read and store

the data. When all the necessary data has been entered the program

will solve for the unknown value, or perform a conversion, and

display the result. The <ESC> key is always enabled, and can

be used in any area. Pressing the <ESC> once will return you to the

first data entry point on the current screen, this is useful if you

made an incorrect entry. Pressing the <ESC> key again will cause the

most recent menu to be displayed. Use this method to find your way

back to the main menu, and also to exit the program.

Configuration Options:

This section is accessible from the main menu by pressing the <A> key.

There are four items that can be set up to suit the user, this

setup data is then stored, for future reference, in a 8 byte file

named EEF.DAT. The setup options include foreground and background

colors, calculator type, and sound generation. The options are

displayed on the lower area of the screen, one at a time. If a change

is necessary simply key in the appropriate numeric values and press the

<ENTER> key. If no change is to be made then simply press the <ENTER>

key to go to the next choice. The options are listed below.

Foreground color : Range 0 - 15

Background color : Range 0 - 7

Calculator type  : Range 0 - Algebraic / 1- RPN

(Reverse Polish Notation)

Sound            : Range 0 - On / 1 - Off

The foreground and background colors can not be set to the same value,

an error message will be displayed if this occurs. See the on-screen

calculator information area for operational considerations, concerning

the type selection. To save the changes press the <ESC> key, this will

exit the configure area and write the setup information to the setup

file.

Electronics Overview:

This section is accessible from the main menu by pressing the <B> key.

This section of the program will calculate various electronic related

formulas as listed below. Also included is a electronics color code

chart.

Ohms law (DC)                 Coupled inductance

Ohms law (AC)                 Impedance

Resistance total              Resonance

Capacitance total             Admittance

Inductance total              Susceptance

Mutual inductance             Conductance

Most sections will calculate several different derivatives of a

formula, for instance, the resonance area has the capability of

solving not only for resonance, but also capacitance, or inductance

in a resonant circuit. In the areas where this is possible, you will

be given several choices then, by user selection, the formula for the

specified quantity will be performed. The formula used to arrive at

the result is displayed on the screen at the end of any calculation.

The standard print screen function can be used to obtain a hard copy,

the screen is also time and date stamped, as a further aid to the

user.

Electrical Overview:

This section is accessible from the main menu by pressing the <C> key.

This section of the program will calculate various electrical related

formulas as listed below.

Efficiency                    Fuse and wire size

Power factor                  Conduit and junction box size

Amperes from horsepower       Wire resistance and voltage drop

Amperes from kilowatts        Kvar capacitor sizing

Amperes from kva              Supply system conversion

Kilowatts and KVA             Also a FLC and wire ampacity chart

The left column represents formulas that can be used for calculating

both single and three phase circuits. The other formulas are not

phase dependant and can be used for any circuit configuration.

Efficiency and Power Factor are calculated and displayed on the

screen as a percent. Also, when entering data at an Efficiency or

Power Factor prompt, the data must be input as a percent. The supply

system area calculates the current draw, by a load, on any

conventional power system. This is convenient for 60hz to 50hz

conversions. The formula used to arrive at the result is displayed on

the screen at the end of most calculations. The standard print screen

function can be used to obtain a hard copy, the screen is time

stamped, as a further aid to the user.

Number Systems:

This section is accessible from the main menu by pressing the <D> key.

This section of the program will evaluate, and change a quantity in

one number system to an equivalent value in another system. A box is

used to indicate the current system type. Use the space bar to toggle

between the displayed number systems. Once you have entered the data to

be converted, simply press the <ENTER> key, and the equivalent values

will be displayed for all systems simultaneously.

When entering a binary value you can use the left and right arrow keys

to assist in locating the cursor to a particular bit position. The

<BACKSPACE> key can be used to reset the individual bits to zero.

Pressing a <1> or <0> key will automatically move the cursor to the

next lower bit position.

The current lower and upper conversion limit is:

Decimal (base 10) : +/-1048575

Binary  (base 02) : 1111 1111 1111 1111 1111

Octal   (base 08) : 3777777

Hex     (base 16) : FFFFF

If a value outside these limits is entered, or calculated, an error

message will be displayed on the monitor screen.

World Wide Voltage:

This section is accessible from the main menu by pressing the <E> key.

This section of the program provides a current list of the worlds

electric power supplied to consumers. The list covers a wide range of

countries, and includes frequency, system (wye/delta), single phase

voltage, and three phase voltage, when available. All voltages listed

are alternating current (AC). A wye or star system will have a high

voltage that is 1.732 times the low voltage, for example 120/208. A

delta system will have a high voltage that is 2 times the low

voltage. If a single voltage is listed under the single phase

column, then it can be assumed that the consumer has only the one

voltage available, and that it is a two wire service, (one phase wire

and one neutral). Two voltages listed under the same column would

indicate that the consumer has a three wire service, and both are

available, (two phase wires and one neutral). A three phase service,

when available, will normally be furnished with four wires, (three

phase wires and one neutral). The higher voltage listed can be either

single or three phase, but the lower voltage will always be single

phase.

Helpful Information:

This section is accessible from the main menu by pressing the <F> key.

Basically this section of the program is a quick reference guide, the

information contained in this section is essentially the same as

what is found in this documentation file.

On-screen Calculator:

This feature is accessible from anywhere in the program by pressing

the <F1> key. A short list of special functions will be displayed,

along with the calculator itself. The capabilities include the normal

four basic functions, plus squaring, square root, reciprocal, and

exponential math. The current value in the display can also be

exported back to the main program.

There are two types of calculators available, an algebraic, and an RPN

(Reverse Polish Notation) style. The main difference between the two is

the way in which the data is entered, algebraic notation places the

operators between the numeric data, and Reverse Polish Notation places

the operators after the numeric data. Some sample comparisons are

shown below.

Problem (2 + 5 - 3 = ?):

Algebraic                     RPN

Keystroke   Display        Keystroke   Display

2                          2

+       2.000...        <ENTER>    2.000...

5                          5

-       7.000...           +       7.000...

3                          3

=       4.000...           -       4.000...

Problem (12 * 10 / 5 = ?):

Algebraic                     RPN

Keystroke   Display        Keystroke   Display

12                         12

*      12.000...        <ENTER>   12.000...

10                         10

/     120.000...           *     120.000...

5                          5

=      24.000...           /      24.000...

Problem (20 - 10 + 30 / 5 = ?):

Algebraic                     RPN

Keystroke   Display        Keystroke   Display

20                         20

-      20.000...        <ENTER>   20.000...

10                         10

+      10.000...           -      10.000...

30                         30

/      40.000...           +      40.000...

5                          5

=       8.000...           /       8.000...

The function keys provide the calculator with some extended functions

as noted above these include the following.

F(1) - Clear the display

Pressing this key once clears the numeric entry in progress,

pressing the key again will clear the entire calculator.

F(2) - Change sign

Pressing this key toggles the display from positive to negative.

F(3) - Export result

Pressing this key will take the value in the display and place

it in the data window of the main program. This function will

export back to the electrical and electronic sections if a

window is displayed, and also to the number system conversion

area if the decimal system is the base system.

F(4) - Pi

Pressing this key will place the constant Pi in the display.

F(5) - Square

Pressing this key will square the number in the display.

F(6) - Reciprocal

Pressing this key will give the reciprocal of the number

in the display.

F(7) - Square root

Pressing this key will give the square root of the number

in the display.

F(8) - Exponential math

Pressing this key will give the exponential result of the last

numeric values keyed in to the calculator. An example is shown

below.

Algebraic                     RPN

Keystroke   Display        Keystroke   Display

2                          2

+       2.000...        <ENTER>    2.000...

3                          3

F(8)      8.000...         F(8)      8.000...

When using the algebraic mode any of the basic function keys (+ - * /),

or the (=) key, can be used to enter the initial value for exponential

math. Also relating to the algebraic mode, the <ENTER> key can be

substituted for the <=> key. All functions can be chained together

except for the exponential math function. Select the calculator you

are most comfortable with in the configure section, which is accessible

from the main menu.

Disclaimer:

The author accepts no responsibility for the application of this

software, the result obtained, any errors or omissions contained

herein. This material is subject to change without notice.

Comments:

The author welcomes all comments, either good or bad, input from users

is very important to future releases of this software. Please feel

free to contact me on Compuserve (73407,546), or at the address below.

Registration:

This program is copyrighted, and is offered as shareware software. If

you find this software useful, and plan to retain and use it, then

please register the program. By doing so, you will receive a copy of

the latest version of this software and also be assured of being

informed of future updates. Please send the form below, along with

$20.00, to the address shown.

Name:___________________________________________________________

Address:________________________________________________________

City, State:____________________________________________________

Zip Code:_______________________________________________________

Country:________________________________________________________

Version You Are Using:________________Media Type________________

(5.25 / 3.50 Diskette)

Gregory J. Miller

2303 Bennington Place

Maryland Heights, Mo. 63043